## Slide 1: ECEN 404: Active Ankle- Foot Orthosis (AAFO)
Alfred Boss
Christopher Galik
Tyler Pierce

## Slide 2: System Overview
EMG sensors and FSR sensors will measure electrical activity and pressure in the leg and foot.
The AAFO will transport signals from the 2 sensors to the MCU.
The microcontroller will interpret signals and determine which stage of gait the user is in and supply corresponding motor control.
The motion system, which acts as an artificial muscle, will move the joint by attaching to a rigid structure.

## Slide 3: Sensor & MicroController System ~ 60 hours

## Slide 5: Circuits to go onto PCB

## Slide 6: Sensor, Microcontroller, PCB - Execution/Validation Plan

## Slide 7: Artificial Muscle/Motion System Development
Bi-Weekly Accomplishments
  Functional fabricated components
Ongoing progress/problems
  Integration

## Slide 8: Structural Design
Updates
  No updates
Upcoming
  Integrate structure with Artificial Muscle and test

## Slide 9: Power System
Updates
  Finished Power system validation as stand-alone subsystem
    No load condition
    No switching problems (blown fuse on multimeter when testing CC)
Upcoming
  Integrate with Artificial Muscle and test
    Current control - High power rating resistor - LED model, Inductor?
    Can force current
    Potential custom H-bridge?

## Slide 10: Oscilloscope Validation Function 1 “Extend”
CH1 - Yellow - Battery output
Ch2 - Blue - Converter output
CH3 - Pink - 4A input - High
CH4 - Green - H bridge output - Positive

## Slide 11: Oscilloscope Validation Function 2 “Retract”
CH1 - Yellow - Battery output
Ch2 - Blue - Converter output
CH3 - Pink - 4A input - Low
CH4 - Green - H bridge output - Negative

## Slide 12: Oscilloscope Validation Function 3 “None”
CH1 - Yellow - Battery output
Ch2 - Blue - Converter output
CH3 - Pink - 4A input - High
CH4 - Green - H bridge output - None

## Slide 13: Execution Plan

## Slide 14: Validation Plan