## Slide 1: ECEN 404: Active Ankle- Foot Orthosis (AAFO)
Alfred Boss
Christopher Galik
Tyler Pierce

## Slide 2: System Overview
EMG sensors and FSR sensors will measure electrical activity and pressure in the leg and foot.
The AAFO will transport signals from the 2 sensors to the MCU.
The microcontroller will interpret signals and determine which stage of gait the user is in and supply corresponding motor control.
The motion system, which acts as an artificial muscle, will move the joint by attaching to a rigid structure.

## Slide 3: Sensor & MicroController System

## Slide 4: MicroController System Code

## Slide 5: Artificial Muscle/Motion System Development
Bi-Weekly Accomplishments
  New fabrication method for solenoid
Ongoing progress/problems
  (Another) 3D printing error
  Unusable magnet wire

## Slide 6: Structural Design
Updates
  No updates
Upcoming
  Integrate structure with Artificial Muscle and test
  Solidworks stress validation

## Slide 7: Power System
Updates
  Power system validated (Converter & H-bridge) under no load condition
  Converter Simulation Completed
Upcoming
  Validate with battery (Under load? - Additional switch w/ H-bridge)
  Integrate with Artificial Muscle and test

## Slide 8: CC/CV Converter w/o Battery

## Slide 9: H-bridge (Gates 3&4) w/ Converter w/o Battery

## Slide 10: Converter Simulation
Transient simulation
w/ Vref sweep from 0V to 2.5V at 0.5V increments
Feedback reference

## Slide 11: Converter Simulation

## Slide 12: Execution Plan

## Slide 13: Validation Plan